| Date: |  |  | Revised Date: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Campus/Facility: |  |  | Client: |  |  |  |  |  |  |
| (Address): |  |  |  |  |  |  |  |  |  |
| Building Name(s): |  |  | Building Numbers: |  |  |  |  |  |  |
| Project Title: |  |  |  |  |  |  |  |  |  |
| Architect/Engineer: |  |  |  |  |  |  |  |  |  |
| Project No.: |  |  |  | Estimated Project Cost: |  |  |  |  |  |
| Code Enforcement Jurisdiction: DASNY Other: Variance Requested: Yes No |  |  |  |  |  |  |  |  |  |
| Classification: Single Family Dwelling Two Family Dwelling Townhouse Manufactured Home |  |  |  |  |  |  |  |  |  |
| NFPA 101 Life Safety Code (for OPWDD & OMH Facilities): (Complete Attachment #3 or #4 as applicable. Use link below) |  |  |  |  |  | Life Safety Code Occupancy Chapter (s): Life Safety Code Construction Classification: FSES Utilized: Attach Copy. |  |  |  |
| Project Type: Check all that apply. Refer to RCNYS Appendix BO for definitions. |  | New Building Repair Alteration Level 1 Alteration Level 2 |  |  | Change of Occupancy Addition Historic Building Relocated Building |  |  | Replacement Demolition |  |
| Work Involved: | General Construction |  |  |  |  |  | Structural |  | Site Work |
| Check all that apply. | Roofing |  |  |  |  |  | Mechanical |  | Sprinkler |
|  | Asbestos Abatement/Environmental |  |  |  |  |  | Plumbing |  | Elevators |
|  | Fire Alarm |  |  |  |  |  | Electrical |  | Other |

LEGEND: NA - Not Applicable, NR - Not Required, NP - Not Permitted

| No | Topic | Residential Code Section | Required / Allowed | Actual | Comment |
| --- | --- | --- | --- | --- | --- |
| 1 | Building Height | R101.2 |  |  | More than 3 stories must comply with Building Code. |
| 2 | Design Criteria | R301 |  |  | Provide information in Attachment 1. Use link below. |
| 3 | Fire Resistant Construction | R302 |  |  |  |
|  | Exterior Walls | R302.1 |  |  |  |
|  | Townhouse Common Walls | R302.2 |  |  |  |
|  | Townhouse Parapets | R302.2.4 |  |  |  |
|  | Two-Family Dwelling Wall or Floor Separation | R302.3 |  |  |  |
|  | Dwelling Unit Rated Penetrations | R302.4 |  |  |  |
|  | Dwelling-Garage Opening & Penetrations | R302.5 |  |  |  |
|  | Dwelling-Garage Fire Separation | R302.6, Table R302.6 |  |  |  |
|  | Flame Spread & Smoke-Developed Index (wall/ceiling finishes, insulation) | R302.9, R302.10 |  |  | Wall: Ceiling: Insulation: |
|  | Fire Blocking | R302.11 |  |  |  |
|  | Draftstopping | R302.12 |  |  |  |
|  | Fire Protection of Floors | R302.13 |  |  |  |
|  | Combustible Insulation Clearance | R302.14 |  |  |  |
|  | Fire-retardant treated wood | R302.15 |  |  |  |
| 4 | Foam Plastic | R303 |  |  | Locations: |
|  | Thermal Barrier Required | R303.4 & R303.5 |  |  |  |
| 5 | Protection of Wood and Wood-Based Products Against Decay | R304 |  |  |  |
| 6 | Termite Protection | R305 |  |  |  |
| 7 | Flood Resistant Construction | R306 |  |  |  |
|  | Design Flood Elevation | R306.1.4 |  |  |  |
| 8 | Sprinkler System | R309 |  |  | Indicate Type of Sprinkler System: NFPA 13 NFPA 13R NFPA 13D |
| 9 | Smoke Alarms | R310 |  |  |  |
|  | Smoke alarms in existing buildings | R310.2.2 |  |  |  |
|  | Combination Smoke/CO Alarms | R310.5 |  |  |  |
|  | Power Source | R310.6 |  |  |  |
|  | Fire Alarm System | R310.7 |  |  | Indicate Type of Fire Alarm System: Conventional (zoned) Addressable |
| 10 | Carbon Monoxide Alarms | R311, FC 915 |  |  | Indicate all that apply: CO Alarm Combination CO/Smoke Alarm Hardwired Plug-in Battery Interconnected CO System CO Detector Combination CO/Smoke Detector Connected to FACP |
| 11 | Minimum Room Areas | R312 |  |  |  |
| 12 | Ceiling Heights | R313 |  |  |  |
| 13 | Mezzanines | R314 |  |  |  |
| 14 | Garages/Carports | R317 |  |  |  |
| 15 | Means of Egress | R318 |  |  | Note, where NFPA 101 is applicable, the more stringent egress requirement need be applied |
|  | Egress Door | R318.2 |  |  |  |
|  | Landing at Exterior Doors | R318.3 |  |  |  |
|  | Hallways | R318.6 |  |  |  |
|  | Stairways | R318.7 |  |  |  |
|  | Stairway Width | R318.7.1 |  |  |  |
|  | Stairway Headroom | R318.7.2 |  |  |  |
|  | Stairway Risers / Treads | R318.7.5.1 and R318.7.5.2 |  |  |  |
|  | Handrails | R318.7.8, R320 |  |  |  |
|  | Ramps | R318.8 |  |  |  |
| 16 | Emergency Escape and Rescue Openings | R319 |  |  |  |
|  | Minimum Opening Area | R319.2.1 |  |  |  |
|  | Alterations or repairs of existing basements | R319.7 |  |  |  |
| 17 | Guards & Window Fall Protection | R321 |  |  |  |
|  | Guards at floors, stairs, ramps and landings – Where required | R321.1.1 |  |  |  |
|  | Window Fall Protection | R321.2 |  |  |  |
| 18 | Accessibility | R322 |  |  |  |
| 19 | Elevator and Platform Lifts | R323 |  |  | Indicate Type: Traction, Hydraulic, LULA Platform lift Other: |
| 20 | Glazing | R324 |  |  | Identify hazardous locations and category classification |
|  | Identification | R324.1 |  |  |  |
|  | Human Impact loads | R324.3 |  |  |  |
|  | Hazardous Locations | R324.4 |  |  |  |
|  | Skylights & Sloped Glazing | R324.6 |  |  |  |
| 21 | Light/Ventilation and Heating | R325 |  |  | Light: Natural % Artificial % Vent: Natural % Mechanical % |
|  | Mechanical Ventilation | R325.3 |  |  |  |
|  | Outside Opening Protection | R325.5 |  |  |  |
|  | Interior Stairway Illumination | R325.6 |  |  |  |
|  | Exterior Stairway Illumination | R325.7 |  |  |  |
|  | Required Heating | R325.8 |  |  |  |
| 22 | Sanitation | R326 |  |  | Provide information in Attachment 1. Use link below. |
| 23 | Toilet, Bath & Shower Spaces | R327, Figure R327.1 |  |  |  |
| 24 | Swimming Pools, Spas & Hot Tubs | R328 |  |  | Indicate Type: Pool, In-Ground, Aboveground, Spa, Hot Tub |
|  | Pool Barrier | R328.4 |  |  |  |
|  | Pool & Spa Entrapment Protection | R328.5 |  |  |  |
|  | Pool & Spa Alarms | R328.6 |  |  |  |
| 25 | Solar Energy Systems | R329 |  |  | Indicate Type: Solar Thermal System, Photovoltaic System, Location: Rooftop, Ground |
| 26 | Foundations | R401 |  |  |  |
|  | Surface Drainage | R401.3 |  |  |  |
|  | Soil Tests | R401.4, Table R401.4.1 |  |  | Geotechnical Evaluation. Presumptive Load-Bearing values: psf |
|  | Foundation Materials | R402 |  |  | Indicate Type: Wood, Concrete, Precast, Masonry |
|  | Footings | R403 |  |  |  |
|  | Minimum Size Footings | R403.1.1, Table R403.1 |  |  | Width x Thickness Minimum Depth |
|  | Frost Protection | R403.1.4.1 |  |  |  |
|  | Foundation & Retaining Walls | R404 |  |  |  |
|  | Foundation Drainage | R405 |  |  |  |
|  | Foundation Waterproofing & Dampproofing | R406 |  |  |  |
|  | Columns | R407 |  |  |  |
|  | Under-Floor Space | R408 |  |  |  |
|  | Ventilation | R408.1, 2, 3 |  |  |  |
| 27 | Floors | R501 |  |  |  |
|  | Wood Floor Framing | R502 |  |  |  |
|  | Truss Type, Pre-Engineered Wood or Timber Construction | R502.12, Part 1265 Placarding |  |  | Provide information in Attachment 1. Use link below. |
|  | Floor Sheathing | R503 (Table 503.1) |  |  |  |
|  | Cold-Formed Steel Floor Framing | R505 |  |  |  |
|  | Concrete Floors (on ground) | R506 |  |  |  |
| 28 | Exterior Decks | R507 |  |  |  |
|  | Pressure Treated Lumber | R507.2.1, R304 |  |  |  |
|  | Plastic composite | R507.2.2 |  |  |  |
|  | Footings | R507.3 |  |  | See Table 507.3.1 for sizing requirements. |
|  | Deck Posts | R507.4 |  |  | See Table 507.4 for sizing requirements. |
|  | Deck Beams & Connection to Supports | R507.5 Table R507.5 |  |  | See Figure 507.5 for span types. See Figures 507.5.2.1(1) & (2) for permitted post to beam connections (notched, seated and through-bolted or seated with mechanical connector). “Sandwiching” and through bolting is not typically permitted. |
|  | Deck Joists | R507.6 |  |  | See Table 507.6 for sizing requirements. |
|  | Decking | R507.7 |  |  | See Table 507.7 for max. joist spacing (wood). R507.2 for plastic composite. |
|  | Ledger Connection | R507.9 |  |  | See Table 507.9.1.3(1), 507.9.1.3(2) and Figures 507.9.1.3(1) and 507.9.1.3(2). |
|  | Ledger Flashing | R507.9.1.5 |  |  |  |
|  | Lateral Load Connectors | R507.9.2 |  |  | See Figures 507.9.2(1) and 507.9.2(2) |
|  | Exterior Guards | R507.10, R301.5, R321 |  |  | 36” minimum height |
|  | Guard Height (OPWDD) | NFPA 101(2000 & 2012) 7.2.2.4.6, |  |  | 42” minimum height |
|  | Stair Risers (OPWDD) | NFPA 101(2000 &2012) 7.2.2.2.1.1, R318.7.5.1 |  |  | 7” maximum riser height |
|  | Stair Width (OPWDD) | NFPA 101(2000 & 2012) 7.2.2.2.1.2, R381.7.1 |  |  | 36” minimum clear width, except projections not more than 4-1/2” at or below handrail height |
|  | Stair Treads (OPWDD) | NFPA 101 (2000 & 2012) 7.2.2.2.1.1, R318.7.5.2 |  |  | 11” minimum tread depth |
|  | Dimensional Uniformity (OPWDD) | NFPA 101(2000 & 2012) 7.2.2.3.6 & R 318.7.5.1, 318.7.5.2 |  |  | Tread and riser measurements not any greater than 3/8” difference between largest and smallest dimension. For bottom or top riser adjoining existing sloped surface see 7.2.2.3.6.3. |
| 29 | Wall Construction | R601 |  |  |  |
|  | Wood Wall Framing | R602 |  |  |  |
|  | Headers & Jack Studs | 602.7, 602.7.5 |  |  |  |
|  | Wall Bracing | R602.10 |  |  |  |
|  | Wall Anchorage | R602.11 |  |  |  |
|  | Simplified Wall Bracing | R602.12 |  |  |  |
|  | Cold-Formed Steel Wall Framing | R603 |  |  |  |
|  | Wood Structural Panels | R604 |  |  |  |
|  | Masonry Construction | R606 |  |  |  |
|  | Glass Unit Masonry | R607 |  |  |  |
|  | Exterior Concrete Wall | R608 |  |  | Indicate Type (per 608.3): |
|  | Exterior Windows & Doors | R609 |  |  |  |
|  | Testing & Labeling | R609.3 |  |  |  |
|  | Structural Insulated Panel Wall | R610 |  |  |  |
| 30 | Wall Covering | R701 |  |  |  |
|  | Interior Covering | R702 |  |  |  |
|  | Vapor Retarder | R702.7 |  |  | Indicate Class: |
|  | Exterior Covering | R703 |  |  | Combustible Non-Combustible |
|  | Water-resistive barrier | R703.2 |  |  |  |
|  | Exterior Soffits and Fascias | R704 |  |  |  |
| 31 | Roof-Ceiling Construction | R801.1 |  |  |  |
|  | Wood Roof Framing | R802 |  |  | Fire Retardant-Treated: Yes No |
|  | Truss Type, Pre-Engineered Wood or Timber Construction | R802.10, Part 1265 |  |  | Provide information in Attachment 1. Use link below. |
|  | Uplift Resistance | R802.11 |  |  |  |
|  | Roof Sheathing | R803 |  |  |  |
|  | Cold-Formed Steel Roof Framing | R804 |  |  |  |
|  | Roof Ventilation | R806 |  |  |  |
|  | Attic Access | R807 |  |  |  |
| 32 | Roof Assemblies | R901 |  |  |  |
|  | Fire Classification | R902 |  |  |  |
|  | Weather Protection | R903 |  |  |  |
|  | Roof Covering | R905 |  |  | Indicate Material: |
|  | Ice Barriers | R905.1.2 |  |  | Note, the ice barrier must extend to a point not less than 24” inside the exterior wall line of the building, not just the roof edge. |
|  | Roof Insulation | R906 |  |  |  |
|  | Rooftop-Mounted Photovoltaic Systems | R907 |  |  |  |
|  | Reroofing | R908 |  |  | Replacement: Recover: |
| 33 | Chimney and Fireplaces | R1001 |  |  |  |
|  | Masonry Fireplaces | R1001 |  |  |  |
|  | Masonry Heater | R1002 |  |  |  |
|  | Masonry Chimneys | R1003 |  |  |  |
|  | Factory-Built Fireplaces | R1004 |  |  |  |
|  | Factory-Built Chimneys | R1005 |  |  |  |
|  | Exterior Air Supply | R1006 |  |  |  |
| 34 | Energy Efficiency | N1101 ECCCNYS |  |  | Provide information in Attachment 2. Use link below. |
| 35 | Mechanical | M1201 |  |  |  |
|  | Existing Mechanical Systems | M1202 |  |  |  |
|  | Type of Fuel for Heating | M1304 |  |  | Fuel type: |
|  | Appliance Access (attic) | M1305.1.2 |  |  |  |
|  | Clearance from Combustibles | M1306, Table M1306.2 |  |  | Identify inches of clearance (in spaces to the left). |
|  | Equipment & Appliance Sizing | M1401.3, Ch. 14 |  |  | Type of Heating and Cooling Equipment: |
|  | Heating and Cooling Equipment | M1411 |  |  | Type of refrigerant: |
|  | Auxiliary & Secondary Drain Systems | M1411.9.1 |  |  |  |
|  | Exhaust Outdoor Discharge | M1501.1 |  |  |  |
|  | Clothes Dryer Exhaust | M1502 |  |  |  |
|  | Domestic Cooking Exhaust Equipment | M1503 |  |  | Indicated CFM: |
|  | Makeup Air Required | M1503.6 |  |  |  |
|  | Whole-House Mechanical Ventilation System | M1505.4 |  |  |  |
|  | Mechanical Exhaust Rates for Kitchens | M1503.5, M1505.5 (Table M1505.5) |  |  |  |
|  | Mechanical Exhaust Rates for Bathrooms | M1505.5 (Table M1505.5) |  |  |  |
|  | Gage of Metal Ducts | M1601 & Table M1601.1.1) |  |  |  |
|  | Duct Insulation Material | M1601.3 |  |  | Flame spread: Smoke development: |
|  | Return Air | M1602 |  |  |  |
|  | Combustion Air | M1701 |  |  |  |
|  | Chimney and Vents | M1801, M1804, M1805 |  |  | Type of Chimney: Type of Vent: Size: Clearance: |
|  | Existing Chimney and Vent | M1801.3 |  |  | Type of Chimney: Type of Vent: Size: Clearance: |
|  | Clearances | M1801.3.4 |  |  |  |
|  | Chimney or Vent Connector | M1803 |  |  | Size: Gage: Clearance: |
|  | Special Appliances, Equipment & Systems | M1901-M1904 |  |  | Type of Appliance, Equipment, or System(s): |
|  | Boilers & Water Heaters | M2001-M2006 |  |  |  |
|  | Hydronic Piping | M2101 (Table M2101.1) |  |  | Material Type: |
|  | Ground-Source Heat Pump System Loop Piping | M2105 |  |  |  |
|  | Oil Tanks | M2201-M2204 |  |  | Location: Size: |
|  | Solar Thermal Energy Systems | M2301 |  |  |  |
| 36 | Fuel Gas | G2401 |  |  |  |
|  | Appliance Location | G2406.1 |  |  |  |
|  | Combustion, Ventilation & Dilution Air | G2407 |  |  | Make-up Air: Combustion Air: (indoor or outside or combination) |
|  | Appliance/Equipment Installation | G2408 |  |  |  |
|  | Clearance Reduction | G2409, Table G2409.2 |  |  |  |
|  | Electric Bonding | G2411, G2411.2, G2411.3 |  |  | Identify if CSST is to be used. |
|  | Gas Pipe System | G2412 |  |  |  |
|  | Pipe Material & Size | G2413, G2414 |  |  | Material: Size: |
|  | Pipe Installation | G2415, G2415 |  |  |  |
|  | Venting of Appliances | G2426, G2427, Table G2427.4 |  |  |  |
|  | Sizing Category I Appliance Venting System | G2428 |  |  |  |
|  | Clothes Dryer Exhaust | G2439 |  |  |  |
|  | Force-Air Warm-Air Furnace | G2442 |  |  |  |
|  | Unit Heaters | G2444 |  |  |  |
|  | Cooking Appliances | G2447 |  |  |  |
|  | Water Heaters | G2448 |  |  |  |
|  | Boilers | G2452 |  |  |  |
| 37 | Plumbing | P2501, P2601 |  |  |  |
|  | Existing Plumbing Systems | P2502 |  |  |  |
|  | Individual Water Supplies | P2602.1.1 |  |  |  |
|  | Individual Sewage Treatment System | P2602.1.2 |  |  |  |
|  | Structural and Piping Protection | P2603 |  |  |  |
|  | Penetrations | P2606 |  |  |  |
|  | Plumbing Fixtures | R326 & P2701 |  |  | Provide information in Attachment 1. Use link below. |
|  | Water Heaters | P2801 |  |  |  |
|  | Solar Water Heating Systems | P2802 |  |  |  |
|  | Protection of Potable Water Supply | P2902, P2902.3 |  |  |  |
|  | Water Supply System | P2903 |  |  |  |
|  | Dwelling Unit Fire Sprinkler System | P2904 |  |  |  |
|  | Water Supply Piping Materials | P2906 |  |  |  |
|  | Nonpotable Water Systems | P2910 |  |  |  |
|  | On-Site Nonpotable Water Reuse System | P2911 |  |  |  |
|  | Nonpotable Rainwater Collection & Distribution System | P2912 |  |  |  |
|  | Reclaimed Water System | P2913 |  |  |  |
|  | Sanitary Drainage | P3001 |  |  |  |
|  | Drainage Fixture Units | P3004 |  |  | DFUs: |
|  | Drainage System | P3005 |  |  |  |
|  | Cleanouts | P3005.2 |  |  |  |
|  | Sumps & Ejectors | P3007 |  |  |  |
|  | Backwater Valves | P3008 |  |  |  |
|  | Plumbing Vent Systems | P3101-P3111 |  |  | Individual Vent: Yes No Common Vent: Yes No Wet Venting: Yes No Waste Stack Vent: Yes No Circuit Venting: Yes No |
|  | Island Fixture Venting | P3112 |  |  |  |
|  | Vent Pipe Sizing | P3113 |  |  |  |
|  | Air Admittance Valves | P3114 |  |  |  |
|  | Fixture Traps | P3201 |  |  |  |
|  | Trap Seals | P3201.2 |  |  |  |
|  | Storm Drainage | P3301 |  |  |  |
| 38 | Electrical | E3401 |  |  |  |
|  | Building Structure Protection | E3402 |  |  |  |
|  | Equipment Location/Clearances | E3405 |  |  |  |
|  | Service Size and Rating | E3602 |  |  | Service Load (Table E3602.2): Rating of Service Disconnect: Voltage Rating: |
|  | System Grounding | E3607 |  |  |  |
|  | Bonding | E3609, E3609.7 |  |  |  |
|  | Ground-Fault & Arc Fault Circuit-Interrupter Protection | E3902 |  |  |  |
|  | Emergency Power | N/A |  |  |  |
|  | Exit Lights | N/A |  |  |  |
|  | Emergency Lighting | N/A |  |  |  |

| Additional information provided. Open Attachment 1 and enter information: | Energy Conservation information provided. Open Attachment 2 and enter information: |
| --- | --- |

| LSC Health Care Facility, Chapters 18/19 for OPWDD & OMH Facilities. Open Attachment 3 and enter information: | LSC Board & Care Chapters 32/33 for OPWDD facilities. Open Attachment 4 and enter information: |
| --- | --- |